Highlights:

SS BODY CONSTRUCTION .Very stable solenoid valve with a life of more than

500 000 times;Excellent AC to DC adaptor. High-quality valve and sensor.

Characteristic:

 Touch-free usage to eliminate cross-contamination

*   Easy to install and maintain.(external wall mounting)

 International advanced electronic technology with high sensitivity and stability.

 Water saving programme.

 Ideal for replacements and retrofitting of most makes.

A. Odour protection: Flushes automatically every 24 hours to maintain water level in

traps.

Widely used in all over the world such as hospitals, dental clinics, hotels, restaurants,

factory, laboratory, schools, top office buildings and many public areas.

Technical Information:

Power supply: AC 20 to 250 v / DC 6v (4x1.5v alkaline battery)

Output: 6vdc (Regulated)

Current: 500mASensing Range: 30 to 65 cms

Applicable water pressure: 0.05-0.8Mpa (8PSI-120PSI)

Water inlet/outlet pipe diameter: G 1/2" BSP x ¾” CPVC Pipe Connector

Recognition time > 4s

Features:

Complete SS 304 Front cover & Enclosure.

Liberal space for assembly & Service.

Available in both AC & DC models.

Sliding adaptors provided for easy removal & installation of valve.

Flow control cum shutoff valve provided.

1x24 hr Auto flush, to fill dry drain traps to  prevent ingress of drain odors.

No decorative plastic parts thus ensuring long product life.

Dual flush or only Post Flush can be set via App.

Sensing Distance & Flushing time can also be varied via App or Remote.

Packing:

Inner Packing: 1pcs/box

Outer Packing: