Highlights:

SS BODY CONSTRUCTION .Very stable solenoid valve with a life of more than

500 000 times;Excellent AC to DC adaptor. High-quality valve and sensor.

Characteristic:

 Touch-free usage to eliminate cross-contamination

.  Easy to install and maintain.(external wall mounting)

 International advanced electronic technology with high sensitivity and stability.

 Water saving programme.

 Ideal for replacements and retrofitting of most makes.

A. Odour protection: Flushes automatically every 24 hours to maintain water level in

traps.

Widely used in all over the world such as hospitals, dental clinics, hotels, restaurants,

factory, laboratory, schools, top office buildings and many public areas.

Technical Information:

Power supply: AC 20 to 250 v / DC 6v (4x1.5v alkaline battery)

Output: 6vdc (Regulated)

Current: 500mA

Sensing Range: 30 to 65 cms

Applicable water pressure: 0.05-0.8Mpa (8PSI-120PSI)

Water inlet/outlet pipe diameter: G 1/2" BSP

Recognition time > 4s

Features:

Complete SS 304  Front Cover & Housing.

Easily convert existing manual flushers to sensor operated.

Flow control cum shutoff valve provided.

If electrical conduit is available, unit can work on AC or DC.

No decorative plastic parts thus ensuring long product life.

Dual flush or only Post Flush can be set via App.

1x24 hr Auto flush, to fill dry drain traps to  prevent ingress of drain odors.

Sensing Distance & Flush time can also be varied via App or Remote.

Low Sensor location not to miss any one.

Packing:

Inner Packing: 1pcs/box

Outer Packing: 12pcs/carton